SPARE PARTS LIST OF D10

| N0. | # CODE | # NAME | MODEL | QUY. | MATERIAL | REMARK |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 01 | D3.01 | TOP |  | 1PC | FOAMED STAINLESS |  |  |
| 02 | D3.02 | HINGE FIXED BOARD |  | 1PC | STEEL |  |  |
| 03 | D10.03 | BODY BACK COVER |  | 1PC | ZINC |  |  |
| 04 | D10.04 | BODY |  | 1PC |  |  |  |
| 05 | GN650TN.01 | SUPPORT TRAY NUT | M6 | 12PCS | STEEL |  |  |
| 06 | D3.15 | INSERT SENSOR |  | 1PC |  |  |  |
| 07 | D10.07 | SUPPORT TRAY |  | 2PCS | STEEL |  |  |
| 08 | S900.47 | PLUG |  | 1PC |  |  |  |
| 09 | D10.09 | UNIT ROOM GRILL |  | 1PC | COATED STEEL |  |  |
| 10 | GN2100TN.06 | DOOR HINGE AXIS | M5 | 1PC | STEEL |  |  |
| 11 | GN650TN.48 | DOOR SWITCH |  | 1PC |  |  |  |
| 12 | D10.12 | GASKET |  | 1PC | PLASTIC |  |  |
| 13 | D10.13 | DOOR |  | 1PC | FOAMED STAINLESS |  |  |
| 14 | GN650TN.14 | DOOR SPRING HINGE |  | 1PC | STEEL |  |  |
| 15 | D3.12 | DOOR HINGE |  | 1PC | STEEL |  |  |
| 16 | GN650TN.07 | FEET | H=150 | 4PCS | STEEL |  |  |
| 17 | D3.17 | UNIT SUPPORT BOARD |  | 1PARI | STEEL |  |  |
| 18 | D3.18 | WATER BOX FIXED BOARD |  | 2PCS | STEEL |  |  |
| 19 | D3. 19 | WATER BOX GUIDE |  | 2PCS | STEEL |  |  |
| 20 | GN1200 | WATER BOX |  | 1PC | PLASTIC |  |  |
| 21 | D3.20 | CABLE CONNECTOR |  | 1PC |  |  |  |
| 22 | D3.21 | JUNCTION BOX FIXED BOARD |  | 1PC | ZINC |  |  |
| 24 | D3.25 | GUIDE |  | 1PAIR | ZINC |  |  |
| N0. | # CODE | # NAME | MODEL | QUY. | MATERIAL | REMARK |  |
| 25 | D3.27 | SOLENOID VALVE | EV2 | 1PC |  |  |  |
| 26 | D3.28 | SOLENOID VALVE FIXED CLIP |  | 1PC | STEEL |  |  |
| 27 | D10.27 | THERMOSTATIC EXPANSION VALVE |  | 1PC |  |  |  |
| 28 | D3.30 | FILTER DRIER |  | 1PC |  |  |  |
| 29 | D3.31 | RECEIVER AND ACCUMULATOR |  | 1PC |  |  |  |
| 30 | D10.30 | COMPRESSOR | NJ2212GK | 1PC |  |  |  |
| 31 | D10.31 | FRONT PANEL |  | 1PC | STEEL |  |  |
| 32 | D3.33 | THERMOSTAT | XB570L | 1PC |  |  |  |
| 33 | S900.01 | MAIN SWITCH | DRH-2415-3 | 1PC |  |  |  |
| 34 | SNACK400. | NUT | M5 | 2PCS | STEEL |  |  |
| 35 | D3.36 | THERMOSTAT COVER |  | 1PC | STEEL |  |  |
| 36 | D3.37 | THERMOSTAT COVER FIXED BOARD |  | 2PCS | STEEL |  |  |
| 37 | D3.38 | THERMOSTAT PROTECTOR |  | 1PC | STEEL |  |  |
| 38 | D10.38 | CONDENSER |  | 1PC |  |  |  |
| 39* | D3.40 | CONDENSER FAN | CA03-51 | 2PCS |  |  |  |
| 40 | GN650BT.10 | BASKET GUARD GRILLS |  | 2PCS | COATED STEEL |  |  |
| 41 | D3.29 | UNIT BOARD |  | 1PC | ZINC |  |  |
| 42 | S903 | WATER PAN SUPPORT |  | 1PC | STEEL |  |  |
| 43 | S900.40A | WATER PAN |  | 1PC | PLASTIC |  |  |
| 44 | D10.44 | DISCHARGE PIPE | Φ8 | 1PC | COPPER |  |  |
| 45 | 27R | PIPE FIXED CLIP |  | 1PC | STEEL |  |  |
| 46 | D3.52 | WATER PAN SUPPORT |  | 1PC | STEEL |  |  |
| 47 | D3.53 | HEAT PRESERVATION FOAM |  | 1PC | PLASTIC |  |  |
| 48 | D3.54 | HEATER |  | 1PC |  |  |  |
| 49 | D3.55 | WATER PAN |  | 1PC | STEEL |  |  |
| 50 | D5.46 | BASKET GUARD GRILLS |  | 2PCS | STAINLESS |  |  |
| 51 | D10.51 | FAN FIXED BOARD |  | 1PC | STEEL |  |  |
| # N0. | # CODE | # NAME | # MODEL | # QUY. | # MATERIAL | REMARK |  |
| 52 | S900.31 | SENSOR FIXED CLIP |  | 1PC | STEEL |  |  |
| 53 | GN650TN.17 | PROBE PADDING |  | 1PC | STEEL |  |  |
| 54 | S900.30 | SENSOR |  | 1PC |  |  |  |
| 55 | D5.51 | AIRFLOW CONDUCT BOARD |  | 1PC | ALUMINIUM |  |  |
| 56 | D5.52 | CIRCUIT FAN | S4E300-AS72-53/C01 | 2PCS |  |  |  |
| 57 | D5.53 | BASKET GUARD GRILLS |  | 2PCS | STAINLESS |  |  |
| 58 | D10.58 | EVAPORATOR |  | 1PC |  |  |  |
| 59 | S900.30 | SENSOR |  | 1PC |  |  |  |
| 60 | D3.57 | SEALING RING |  | 1PC | PLASTIC |  |  |
| 61 | D3.59 | DRAIN PIPE COVER |  | 1PC | PLASTIC |  |  |
| 62 | D3.60 | DRAIN HEATER |  | 1PC |  |  |  |
| 63 | D10.63 | HEATING ELEMENT |  | 1PC |  |  |  |