SPARE PARTS LIST OF D3

| N0. | # CODE | # NAME | MODEL | QUY. | MATERIAL | REMARK |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 01 | D3.01 | TOP |  | 1PC | FOAMED STAINLESS |  |  |
| 02 | D3.02 | HINGE FIXED BOARD |  | 1PC | STEEL |  |  |
| 03 | D3.03 | BODY BACK COVER |  | 1PC | ZINC |  |  |
| 04 | D3.04 | BODY |  | 1PC |  |  |  |
| 05 | S900.47 | PLUG |  | 1PC |  |  |  |
| 06 | D3.06 | UNIT ROOM GRILL |  | 1PC |  |  |  |
| 07 | D3.07 | DOOR |  | 1PC | FOAMED STAINLESS |  |  |
| 08 | GN650TN.48 | DOOR SWITCH | HC-050K4 | 1PC |  |  |  |
| 09 | D3.09 | GASKET |  | 1PC | PLASTIC |  |  |
| 10 | GN2100TN.06 | DOOR HINGE AXIS | M5 | 1PC | STAINLESS |  |  |
| 11 | GN650TN.14 | DOOR SPRING HINGE |  | 1PC |  |  |  |
| 12 | D3.12 | DOOR HINGE |  | 1PC | STAINLESS |  |  |
| 13 | GN650TN.01 | SUPPORT TRAY NUT | M6 | 8PCS | STAINLESS |  |  |
| 14 | D3.14 | SUPPORT TRAY |  | 2PCS | STAINLESS |  |  |
| 15 | D3.15 | INSERT SENSOR |  | 1PC |  |  |  |
| 16 | GN650TN.07 | FEET | H=150 | 4PCS | STAINLESS |  |  |
| 17 | D3.17 | UNIT SUPPORT BOARD |  | 2PCS | STEEL |  |  |
| 18 | D3.18 | WATER BOX FIXED BOARD |  | 2PCS | STAINLESS |  |  |
| 19 | D3.19 | WATER BOX GUIDE |  | 1PAIR | STAINLESS |  |  |
| 20 | D3.20 | CABLE CONNECTOR |  | 1PC |  |  |  |
| 21 | D3.21 | JUNCTION BOX FIXED BOARD |  | 1PC | ZINC |  |  |
| 23 | D3.23 | THERMOSTATIC EXPANSION VALVE |  | 1PC |  |  |  |
| 24 | GN1200TN | WATER BOX |  | 1PC | PLASTIC |  |  |
| 25 | D3.25 | DISCHARGE PIPE | Φ8 | 1PC | COPPER |  |  |
| 26 | D3.26 | GUIDE |  | 2PCS | STAINLESS |  |  |
| N0. | # CODE | # NAME | MODEL | QUY. | MATERIAL | REMARK |  |
| 27 | D3.27 | SOLENOID VALVE | EV2 | 1PC |  |  |  |
| 28 | D3.28 | SOLENOID VALVE FIXED CLIP |  | 1PC | STAINLESS |  |  |
| 29 | D3.29 | UNIT BOARD |  | 1PC | ZINC |  |  |
| 30 | D3.30 | FILTER DRIER |  | 1PC |  |  |  |
| 31 | D3.31 | RECEIVER AND ACCUMULATOR |  | 1PC |  |  |  |
| 32 | SNACK400. | NUT | M5 | 2PCS | STAINLESS |  |  |
| 33 | S900.01 | MAIN SWITCH | DRH-2415-3 | 1PC |  |  |  |
| 34 | D3.34 | THERMOSTAT | XB570L | 1PC |  |  |  |
| 35 | D3.35 | FRONT PANEL |  | 1PC | STAINLESS |  |  |
| 36 | D3.36 | THERMOSTAT COVER |  | 1PC | STAINLESS |  |  |
| 37 | D3.37 | THERMOSTAT COVER FIXED BOARD |  | 2PCS | STEEL |  |  |
| 38* | D3.38 | THERMOSTAT PROTECTOR |  | 1PC | STAINLESS |  |  |
| 39 | D3.39 | CONDENSER |  | 1PC |  |  |  |
| 40 | D3.40 | CONDENSER FAN | CA03-51 | 1PC |  |  |  |
| 41 | GN650BT.10 | BASKET GUARD GRILLS |  | 1PC | COATED STEEL |  |  |
| 42 | GN2100BT.03 | COMPRESSOR | SC21CL | 1PC |  |  |  |
| 43 | S903 | WATER PAN SUPPORT |  | 1PC | ZINC |  |  |
| 44 | S900.40A | WATER PAN |  | 1PC | PLASTIC |  |  |
| 45 | 27R. | PIPE FIXED CLIP |  | 1PC | STEEL |  |  |
| 46 | D3.45 | BASKET GUARD GRILLS |  | 1PC | STAINLESS |  |  |
| 47 | D3.46 | FAN FIXED BOARD |  | 1PC | STEEL |  |  |
| 48 | S900.31 | SENSOR FIXED CLIP |  | 1PC | STEEL |  |  |
| 49 | D3.48 | SENSOR |  | 1PC |  |  |  |
| 50 | GN650TN.17 | PROBE PADDING |  | 1PC | STEEL |  |  |
| 51 | D3.50 | CIRCUIT FAN |  | 1PC |  |  |  |
| 52 | D3.51 | WATER PAN SUPPORT |  | 1PC | STEEL |  |  |
| 53 | D3.53 | HEAT PRESERVATION FOAM |  | 1PC | PLASTIC |  |  |
| N0. | # CODE | # NAME | MODEL | QUY. | MATERIAL | REMARK |  |
| 54 | D3.54 | HEATER |  | 1PC |  |  |  |
| 55 | D3.55 | WATER PAN |  | 1PC | STEEL |  |  |
| 56 | D3.56 | EVAPORATOR |  | 1pc |  |  |  |
| 57 | S900.30 | SENSOR |  | 1PC |  |  |  |
| 58 | D3.58 | SEALING RING |  | 1PC | PLASTIC |  |  |
| 59 | D3.59 | DRAIN PIPE COVER |  | 1PC | PLASTIC |  |  |
| 60 | D3.60 | DRAIN HEATER |  | 1PC |  |  |  |
| 61 | D3.61 | HEATING ELEMENT |  | 1PC |  |  |  |